## Slide 1: References (2)
Jeff (CHI-HSUAN HO)

## Slide 2: Intensity Extraction and Data collecting Software – Summit Grid Review, Improve & Evaluate
Jeff (CHI-HSUAN HO)

## Slide 3: Gridding Development
Summit.Grid
  Chip Spec Parameters Setup

## Slide 4: Gridding Development
Summit.Grid
  Bugfix for wrong nms_count (WARNING for S1C)
    Original
  Noise influence (WARNING for Y2B)

## Slide 5: Gridding Development
Summit.Grid
  Rescue mechanism for gridding bad fov (for erosion).

## Slide 6: Gridding Development
Summit.Grid
  PGD Images Processing.

## Slide 7: Gridding Development
Summit Grid checking support.
AM1E
AM3
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 8: Performance for New Gridding Software
Summit.Grid
  Old statistical method

## Slide 9: Performance for New Gridding Software
Summit.Grid
  New statistical method

## Slide 10: Performance for New Gridding Software
Summit.Grid
  Old statistical method

## Slide 11: Performance for New Gridding Software
Summit.Grid
  New statistical method

## Slide 12: Sampling Distribution for Different Chip Scan Mode
Bias_H
N (-0.97, 3.452)
Bias_V
N (-0.47, 7.732)
Quick scan mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 10 runs => 2450 FOVs
  Estimation: Var(X+Y)
SUMMIT Test 2
Bias_H
N (-0.34, 8.602)
Bias_V
N (-1.31, 7.392)
SUMMIT Test 3

## Slide 13: Sampling Distribution for Different Chip Scan Mode
Bias_H
Bias_V
N (-0.86, 2.472)
N (-1.43, 7.232)
Quick scan mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 10 runs => 2450 FOVs
  Estimation: Var(X+Y)
  SUMMIT with precise sliding

## Slide 14: Sampling Distribution for Different Chip Scan Mode
Bias_H
N (-0.57, 1.012)
Bias_V
N (-1.32, 0.452)
Regular high precision mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 1 runs => 245 FOVs
  Estimation: Var(X)
SUMMIT Test 2
Bias_H
N (-0.20, 0.892)
Bias_V
N (-1.77, 0.292)
SUMMIT Test 3

## Slide 15: Sampling Distribution for Different Chip Scan Mode
Bias_H
Bias_V
N (-1.09, 0.842)
N (-1.14, 0.392)
Regular high precision mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 1 runs => 245 FOVs
  Estimation: Var(X)
  SUMMIT with Precise Sliding

## Slide 16: Statistical Conclusion from Experiments Results
Gridding
  SUMMIT Parameters Estimation
    Let of the displacement from changing the filter (BF -> fluorescent).
    Let of the displacement from relocating the plate to the same position.
    In the quick scan mode,
    Estimate
    In the regular high precision mode,
    Estimate Only

## Slide 17: Statistical Conclusion from Experiments Results
Gridding
  Chebyshev’s Inequality
    A. Quick scan for estimating
      , Cover radius: 110.7 (pixels)
      99.5% confidence that the true marker center lies in the cover.
      2.3 x BF_mark_size, Lower bound: 110.7 (pixels)
    B. Regular scan for estimating
      , Cover radius: 7.272 (pixels)
      98.06% confidence that the true marker center lies in the cover.
      0.15 x BF_mark_size
  Normal Distribution
    , 99.5% confidence that the true marker center lies in the cover.
    A. Quick scan for estimating
      , Cover radius: 21.7 (pixels)
    B. Regular scan for estimating
      , Cover radius: 2.8 (pixels)
  Overall Performance - successfully recognized rate: nearly 100%.

## Slide 18: Signal Intensity Extraction Techniques Comparison
Raw Data (NPcall Analyzer)

## Slide 19: Signal Intensity Extraction Techniques Comparison
Raw Data (GT Caller)
No. | Data | Grid1 | Grid2_subpix | Grid2_subpix_cvfix | Ranking |  | 
1 | 85_46_20210324123447 | 92.225% | 93.225% | 93.358% | 3 | 2 | 1
2 | 85_68_20210303140400 | 93.333% | 92.650% | 92.450% | 1 | 2 | 3
3 | 85_69_20210303142117 | 93.325% | 92.991% | 92.958% | 1 | 2 | 3
4 | 85_76_20210303143808 | 92.492% | 93.266% | 93.050% | 3 | 1 | 2
5 | 85_77_20210303145506 | 93.058% | 94.208% | 94.192% | 3 | 1 | 2
6 | 90_21_20210325132601 | 98.667% | 99.600% | 98.825% | 3 | 1 | 2
7 | 90_54_20210324125308 | 98.175% | 98.369% | 98.183% | 3 | 1 | 2
8 | 90_62_20210324131130 | 98.500% | 98.392% | 98.458% | 1 | 3 | 2
9 | 90_70_20210324132953 | 98.108% | 97.942% | 97.950% | 1 | 3 | 2
10 | 90_77_20210325142116 | 97.950% | 98.158% | 98.158% | 3 | 1 | 1
11 | 95_38_20210324121430 | 99.092% | 99.008% | 99.025% | 1 | 3 | 2
12 | 95_76_20210324164230 | 99.666% | 99.666% | 99.683% | 2 | 2 | 1
13 | 95_77_20210221134715_94_8 | 99.392% | 99.416% | 99.408% | 3 | 1 | 2
14 | 95_77_20210324165927 | 99.583% | 99.608% | 99.608% | 3 | 1 | 1
15 | 95_78_20210221140401 | 99.367% | 99.316% | 99.333% | 1 | 3 | 2

## Slide 20: Signal Intensity Extraction Techniques Comparison
Multiple data NP call results comparison (from finally 38 results)
  Grid1 intensity Intensity extracted from new developed process (Grid2)
  Grid1 intensity < Intensity extracted from new developed process (Grid2)
Reject
Reject

## Slide 21: Normal Gamma Background Correction & Data Preprocess
Jeff (CHI-HSUAN HO)

## Slide 22: Model Background and Introduction
For each single array:
: Enhance the biological validity of the results.
Model Assumption

## Slide 23: Methods and Materials
For each single array :
Models and Notations

## Slide 24: Methods and Materials
,
By the convolution formula,
Estimated Signal:
Thus, if is known is known.
No analytic expression Fast Fourier Transformation-based (fft) approximation.
Models and Notations

## Slide 25: Methods and Materials
If we know we know
MLE
Adapted RMA
Non-parametric estimation (NP)
Bayesian estimation
The normexp Model
The Parameter Estimation of normexp Model

## Slide 26: Methods and Materials
If we know we know
MLE with classical minimization algorithms (L-BFGS-B)
The normal-gamma Model
The Parameter Estimation of normal-gamma Model

## Slide 27: Performance on the Real Data
Normal-gamma BgC.
e.g. log(log(Chip 121))
For each single probe in each cluster (channel):
Correction: . Enhance the biological validity of the results.
repre sents the noise. Assumption: Normal distribution.
Remove and u se Gamma distribution to estimate .
Normal-gamma distribution.

## Slide 28: Performance on the Real Data
GMM-EM + Normal-gamma BgC.
  Set the related environment in R. (Data Preprocess, NP Probes, QN & log, QDA)
  Set the corresponding evaluation tools in R. (NP call rate, No call rate)
  Run the GMM-EM in R. (10 times => max NP call.)
  Run the normal-gamma correction (all together) before running QDA.
  Debug for the no call rate in the NP call analyzer.
  An example: NP call Analyzer: NP call: 94.4%, call: 66.9%
NP call (log(log(·))) | 
GMM + EM | 94.2308%
QDA | 94.5863%
ALL_NG + QDA | 94.2774%
Call rate (log(log(·))) | 
GMM + EM | 66.8298%
QDA | 67.8205%
ALL_NG + QDA | 67.7681%

## Slide 29: Data Preprocess
Data Example
78.7
85.1
90.0
94.4
Wafer | Chips | Np call rate (%) (NP call Analyzer)
198-04 | 121 | 94.4
197-02 | 230 | 90.0
198-15 | 277 | 85.1
197-02 | 233 | 78.7

## Slide 30: Data Preprocess
Logarithm Effect

## Slide 31: Data Preprocess
Logarithm Effect

## Slide 32: Chip QC and NPcall Analyzer
Jeff (CHI-HSUAN HO)

## Slide 33: Summit.NPCallAnalyzer
  Chip No.54 Quality Control Chip NO.62 Quality Control

## Slide 34: Summit.NPCallAnalyzer
Snowy rate
A
C
B

## Slide 35: Summit.NPCallAnalyzer
GMM-EM Results (log(log))
NP call: 94.2308%
No Call Rate: 66.8298%
Misclassified data

## Slide 36: Banff chip QC – Violin Plot

## Slide 37: Banff chip QC – Heatmap

## Slide 38: Banff chip QC – Marker Raw Data

## Slide 39
Correlation and Regression analysis (MCE vs. NP call)
Training data: 80% data
Model:
: 99.96%
Testing data: 20% data
MSE: 5.999574703240224e-06
It still need NP data to calculate the MCE.