## Slide 1: References
Jeff (CHI-HSUAN HO)

## Slide 2: Bioinformatics Analysis – Genotyping (GT), APT, CPT
Jeff (CHI-HSUAN HO)

## Slide 3: Genotyping Analysis Development and Deployment
Genotyping Procedure Documents for Each Chip
( )
GTC v4.2 P/N 702982 Rev. 3

## Slide 4: Gaussian Mixture Model (GMM)
Bayesian framework clustering model
  Prior → A guess (e.g. from HapMap)
  Posterior → A correction of cluster membership
Applications (Genotyping, CNV analysis):
  Birdseed (2-D)
  Brlmm-P (1-D)
  Canary (1-D)
Model: ,
where = Gaussian (Normal) dist., = the cluster proportion
Evaluation (Model-based, Domain knowledge):
  Bayesian Information Criterion (BIC)
  Resolution of posterior cluster centroids
  Model reasonability (e.g. outlier cluster)
  Similarity between posterior and prior (e.g. , )
  Biological insight (e.g. Hardy-Weinberg penalty)
4
SNP_A-2131259
0
8.9
9.9
10.5
0
8.9
9.9
10.5

## Slide 5: Bayesian Gaussian Mixture Model
Model:
Number of mixture components
Variance of component ,
Inverse-Wishart()
Mean of component ,
Normal()
Number of observations
Component (category) of observation ,
Categorical(),
Mixture weight, i.e. prior probability of
a particular component ,
Symmetric-Dirichlet(),
Observation ,
Normal()

## Slide 6: Genotyping Analysis Development and Distribution
AxiomGT Framework
Data Loader
Target Sketch Estimation
Quantile Normalization
Data Loader
Quantile Normalization
Training samples
Test samples
MDL
MDL
CDF
Allele Summarization
Allele Summarization
Signal Space Transformation
Signal Space Transformation
AxiomGT <Train>
Web Browser
Genotyping Results
AxiomGT <Call>
Auxiliary
Params
Probe-set List
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 7: Genotyping Analysis Development and Distribution
Auxiliary
Params
Genotype
Special SNPs
Genders
Sex Probes
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 8: Genotyping Analysis Development and Distribution
Call Rate
Genotyping Results
Genotype Inference Report
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 9: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  AxiomGT1 Algo (bayes_label)
    initialize_bins
      (x -> bins domain)
    Integratebrlmmoverlabelings (bins domain)
    labels_two_posterior
      (bins domain)
    make_two_calls
      (bins domain params results
      -> x calls)
Alleles Summarization
GMM Bayesian Update
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 10: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Sort (x, y) and other related params by x (increasing order).
  Create bins data (setup_bins
    (x -> bins domain))
    Create a new bin and reset collected statistics if
      When current data point lies outside current (previous )Create new by using current
      sp.bins = 0 (bins is turned off)
      When data points are fewer than bins.
    Statistics are collected and computed in the same bin:
      Data points number
      Penalty from each known genotype and inbreeding status (Only used in supervised mode)
Alleles Summarization
GMM Bayesian Update

## Slide 11: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Compute Quality Score (Posterior Analog) (for each partition)
    (sp.mix) mixture_penalty
    (sp.bic) BIC (k*log(N) part)
    1D (x) Log likelihood under posterior params
    1D (x) Log prior probability of posterior params
    Quality Score Correction
    (sp.CSepPen) Geman-McClure transformed FLD penalty for non-well-separated clusters cases.
  Compute Relative Probability for (Each Partition) & (Each Data Point to Be Each Genotype) under Posterior Information.
Alleles Summarization
GMM Bayesian Update

## Slide 12: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Quality Score (Posterior Analog) (for each partition)
    (sp.mix) mixture_penalty
    (sp.bic) BIC (k*log(N) part)
    1D (x) Log likelihood under posterior params
Alleles Summarization
GMM Bayesian Update

## Slide 13: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Quality Score (Posterior Analog) (for each partition)
    1D (x) Log likelihood under posterior params
      (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least delta (0.75)).
        Pool Adjacent-Violators (PAV) algo.
Alleles Summarization
GMM Bayesian Update

## Slide 14: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Quality Score (Posterior Analog) (for each partition)
    1D (x) Log likelihood under posterior params
      (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least delta (0.75)).
      (sp.comvar) Ad-hoc shrinkage for of each cluster (controlled by mixing proportion (lambda) (1)).
        Adjusted Pooled Variance.

## Slide 15: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Quality Score (Posterior Analog) (for each partition)
    1D (x) Log likelihood under posterior params
      (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least delta (0.75)).
      (sp.comvar) Ad-hoc shrinkage for of each cluster (controlled by mixing proportion (lambda) (1)).

## Slide 16: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Quality Score (Posterior Analog) (for each partition)
    1D (x) Log prior probability of posterior params
    Quality Score
    (sp.CSepPen) Geman-McClure transformed FLD penalty for non-well-separated clusters.

## Slide 17: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Relative Probability for Each Partition under Posterior Information.
    Quality Score for partition
    Relative Probability

## Slide 18: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Relative Probability for Each Data Point to Be Each Genotype under Posterior Information after dividing .
j i | 0 | 1 | 2 | 3 | 4 |  |  | 
0 | cccc | bccc | bbcc | bbbc | bbbb |  |  | 
1 |  | accc | abcc | abbc | abbb |  |  | 
2 |  |  | aacc | aabc | aabb |  |  | 
3 |  |  |  | aaac | aaab |  |  | 
4 |  |  |  |  | aaaa |  |  | 
j i | 0 | 1 | 2 | 3 | 4 |  |  | 
0 | cccc | bccc | bbcc | bbbc | bbbb |  |  | 
1 |  | accc | abcc | abbc | abbb |  |  | 
2 |  |  | aacc | aabc | aabb |  |  | 
3 |  |  |  | aaac | aaab |  |  | 
4 |  |  |  |  | aaaa |  |  | 
The relative counts of data point being genotype “c” after observing all data.
The relative counts of data point being genotype “a” after observing all data.
Let “a” BB genotype, “b” AB genotype, “c” AA genotype.

## Slide 19: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
Alleles Summarization
GMM Bayesian Update
  Relative Probability for Each Data Point to Be Each Genotype under Posterior Information.
    The relative probability for the data point being AA genotype:
    The relative probability for the data point being BB genotype:
    The relative probability for the data point being AB genotype:
j i | 0 | 1 | 2 | 3 | 4 |  |  | 
0 | cccc | bccc | bbcc | bbbc | bbbb |  |  | 
1 |  | accc | abcc | abbc | abbb |  |  | 
2 |  |  | aacc | aabc | aabb |  |  | 
3 |  |  |  | aaac | aaab |  |  | 
4 |  |  |  |  | aaaa |  |  | 
j i | 0 | 1 | 2 | 3 | 4 |  |  | 
0 | cccc | bccc | bbcc | bbbc | bbbb |  |  | 
1 |  | accc | abcc | abbc | abbb |  |  | 
2 |  |  | aacc | aabc | aabb |  |  | 
3 |  |  |  | aaac | aaab |  |  | 
4 |  |  |  |  | aaaa |  |  | 
The relative counts of data point being genotype “c” after observing all data.
The relative counts of data point being genotype “a” after observing all data.
Let “a” BB genotype, “b” AB genotype, “c” AA genotype.

## Slide 20: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Update 2D Data model parameters with soft assignment of each data bin
Alleles Summarization
GMM Bayesian Update

## Slide 21: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Update 2D Data model parameters with soft assignment of each data bin
    (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least sp.shellbarrier (delta, 0.75)).
        Pool Adjacent-Violators (PAV) algo.
Alleles Summarization
GMM Bayesian Update

## Slide 22: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Update 2D Data model parameters with soft assignment of each data bin.
    (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least sp.shellbarrier (delta, 0.75)).
    Ad-hoc shrinkage for of each cluster (controlled by mixing proportion (lambda) (1)).
        Adjusted Pooled Variance.
        means before shrinkage adjustment.
Alleles Summarization
GMM Bayesian Update

## Slide 23: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  Update 2D Data model parameters with soft assignment of each data bin
    (sp.hardshell) Isotonic Regression adjustment for cluster centers (separated by at least sp.shellbarrier (delta, 0.75)).
    Ad-hoc shrinkage for of each cluster (controlled by mixing proportion (lambda) (1)).
Alleles Summarization
GMM Bayesian Update

## Slide 24: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  (sp.mix, freqflag) compute the frequency of each cluster (AA, AB, BB)
  For each point, compute the the probability that a data point (x, y) belongs to each genotype.
    If copynumber=1,
Alleles Summarization
GMM Bayesian Update
pdf

## Slide 25: Genotyping Analysis Development and Distribution
Data and Parameters Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Probe Sets Summarization
Signal Space Transformation (MvA)
Genotype Calls and Confidences
  (sp.mix, freqflag) compute the frequency of each cluster (AA, AB, BB)
  For each point, compute the the probability that a data point (x, y) belongs to each genotype.
  For each point, make a call.
    No call: If ,
    (default) @ getGTypeCall()
Alleles Summarization
GMM Bayesian Update

## Slide 26: Genotyping Analysis Development and Distribution
  Evaluation Data: GSE78098
    Platform: GPL21480 (Axiom_GW_Hu-CHB_SNP)
      Focus on Chinese (Asian) people.
    420 human samples
    639653 Probe sets
    Preprocessing and filter by DQC < 0.82
    All 419 samples are picked.
  Evaluation Data: Dog Banff
    Platform: B1C (Banff)
    187 dog samples
    48283 Probe sets
    Preprocessing for channel name, vcf allele definition, and change the coordinate system for the Y axis of the heatmap.
    QC filter by NP probes performance (e.g. NP call rate, NP call slope).
    155 dog samples are finally picked and used to build genotyping models.
  Manual, Reports & Results: Project-CPT/CPT.wiki/AxiomGT.md at main · jeff665547/Project-CPT (github.com)
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 27: Genotyping Analysis Development and Distribution
Chart: GSE78098 Testing data Performance
| Previous Status | Quantile Normalization Refinement | Model Adjustment | Evaluation Criteria Optimization | Genotype Labeling Optimization | AxiomGT Algo Dev.
Similarity (Acc.) | 0.94095 | 0.93978 | 0.94181 | 0.98476 | 0.98759 | 0.99513
Current progress
* Refine quantile normalization
* Model research and improvement
* Evaluation methods research and optimization
* Genotype labeling optimization
Genotype Classification Results |  |  |  | 
 | -1 | 0 | 1 | 2
-1 | 519005 | 110428 | 128015 | 134702
0 | 223833 | 79434754 | 163653 | 6509
1 | 177369 | 58320 | 82929318 | 62748
2 | 159430 | 5004 | 47225 | 98111092
Similarity (Acc.): 99.5131806% |  |  |  | 
APT
CPT

## Slide 28: Genotyping Analysis Development and Distribution
Bugfix for the CI/CD error when deployment and distribution.
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 29: Genotyping Analysis Development and Distribution
Successful deployment and distribution.
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 30: Other Genotyping Models Research and Development
Jeff (CHI-HSUAN HO)

## Slide 31: Progress Report and Future Work
Birdseed Framework
Data Loader
Target Sketch Estimation
Quantile Normalization
Training samples (CEL)
Allele Summarization
Birdseed/BRLMMp<Train>
Signal Space Transformation

## Slide 32: Genotyping Methods Evaluation and Simulation
Birdseed: K-means training model
with K-Means centroid (Existing Model)

## Slide 33: Genotyping Methods Evaluation and Simulation
-

## Slide 34: Genotyping Methods Evaluation and Simulation
Birdseed: K-means training model
for some
is the pdf of Normal (Gaussian) distribution,
,
,

## Slide 35: Genotyping Methods Evaluation and Simulation

## Slide 36: Genotyping Methods Evaluation and Simulation
Birdseed: K-means training model

## Slide 37: Genotyping Methods Evaluation and Simulation
sol$k_:
sol$k:
Ans:
Simulation

## Slide 38: Genotyping Methods Evaluation and Simulation
sol$k_:
sol$k:
Simulation

## Slide 39: Intensity Extraction and Data collecting Software – Summit Grid Review, Improve & Evaluate
Jeff (CHI-HSUAN HO)

## Slide 40: Gridding Development
Summit.Grid
  Chip Spec Parameters Setup

## Slide 41: Gridding Development
Summit.Grid
  Bugfix for wrong nms_count (WARNING for S1C)
    Original
  Noise influence (WARNING for Y2B)

## Slide 42: Gridding Development
Summit.Grid
  Rescue mechanism for gridding bad fov (for erosion).

## Slide 43: Gridding Development
Summit.Grid
  PGD Images Processing.

## Slide 44: Gridding Development
Summit Grid checking support.
AM1E
AM3
Notes: Channel name caused by hdf5
VCF definition failure: correct => A: ref, B: alt
Image convert to heatmap: Y need to be inversed.

## Slide 45: Performance for New Gridding Software
Summit.Grid
  Old statistical method

## Slide 46: Performance for New Gridding Software
Summit.Grid
  New statistical method

## Slide 47: Performance for New Gridding Software
Summit.Grid
  Old statistical method

## Slide 48: Performance for New Gridding Software
Summit.Grid
  New statistical method

## Slide 49: Sampling Distribution for Different Chip Scan Mode
Bias_H
N (-0.97, 3.452)
Bias_V
N (-0.47, 7.732)
Quick scan mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 10 runs => 2450 FOVs
  Estimation: Var(X+Y)
SUMMIT Test 2
Bias_H
N (-0.34, 8.602)
Bias_V
N (-1.31, 7.392)
SUMMIT Test 3

## Slide 50: Sampling Distribution for Different Chip Scan Mode
Bias_H
Bias_V
N (-0.86, 2.472)
N (-1.43, 7.232)
Quick scan mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 10 runs => 2450 FOVs
  Estimation: Var(X+Y)
  SUMMIT with precise sliding

## Slide 51: Sampling Distribution for Different Chip Scan Mode
Bias_H
N (-0.57, 1.012)
Bias_V
N (-1.32, 0.452)
Regular high precision mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 1 runs => 245 FOVs
  Estimation: Var(X)
SUMMIT Test 2
Bias_H
N (-0.20, 0.892)
Bias_V
N (-1.77, 0.292)
SUMMIT Test 3

## Slide 52: Sampling Distribution for Different Chip Scan Mode
Bias_H
Bias_V
N (-1.09, 0.842)
N (-1.14, 0.392)
Regular high precision mode experiments
  Sample: 5 YZ01 chips (7x7 FOVs) x 1 runs => 245 FOVs
  Estimation: Var(X)
  SUMMIT with Precise Sliding

## Slide 53: Statistical Conclusion from Experiments Results
Gridding
  SUMMIT Parameters Estimation
    Let of the displacement from changing the filter (BF -> fluorescent).
    Let of the displacement from relocating the plate to the same position.
    In the quick scan mode,
    Estimate
    In the regular high precision mode,
    Estimate Only

## Slide 54: Statistical Conclusion from Experiments Results
Gridding
  Chebyshev’s Inequality
    A. Quick scan for estimating
      , Cover radius: 110.7 (pixels)
      99.5% confidence that the true marker center lies in the cover.
      2.3 x BF_mark_size, Lower bound: 110.7 (pixels)
    B. Regular scan for estimating
      , Cover radius: 7.272 (pixels)
      98.06% confidence that the true marker center lies in the cover.
      0.15 x BF_mark_size
  Normal Distribution
    , 99.5% confidence that the true marker center lies in the cover.
    A. Quick scan for estimating
      , Cover radius: 21.7 (pixels)
    B. Regular scan for estimating
      , Cover radius: 2.8 (pixels)
  Overall Performance - successfully recognized rate: nearly 100%.

## Slide 55: Signal Intensity Extraction Techniques Comparison
Raw Data (NPcall Analyzer)

## Slide 56: Signal Intensity Extraction Techniques Comparison
Raw Data (GT Caller)
No. | Data | Grid1 | Grid2_subpix | Grid2_subpix_cvfix | Ranking |  | 
1 | 85_46_20210324123447 | 92.225% | 93.225% | 93.358% | 3 | 2 | 1
2 | 85_68_20210303140400 | 93.333% | 92.650% | 92.450% | 1 | 2 | 3
3 | 85_69_20210303142117 | 93.325% | 92.991% | 92.958% | 1 | 2 | 3
4 | 85_76_20210303143808 | 92.492% | 93.266% | 93.050% | 3 | 1 | 2
5 | 85_77_20210303145506 | 93.058% | 94.208% | 94.192% | 3 | 1 | 2
6 | 90_21_20210325132601 | 98.667% | 99.600% | 98.825% | 3 | 1 | 2
7 | 90_54_20210324125308 | 98.175% | 98.369% | 98.183% | 3 | 1 | 2
8 | 90_62_20210324131130 | 98.500% | 98.392% | 98.458% | 1 | 3 | 2
9 | 90_70_20210324132953 | 98.108% | 97.942% | 97.950% | 1 | 3 | 2
10 | 90_77_20210325142116 | 97.950% | 98.158% | 98.158% | 3 | 1 | 1
11 | 95_38_20210324121430 | 99.092% | 99.008% | 99.025% | 1 | 3 | 2
12 | 95_76_20210324164230 | 99.666% | 99.666% | 99.683% | 2 | 2 | 1
13 | 95_77_20210221134715_94_8 | 99.392% | 99.416% | 99.408% | 3 | 1 | 2
14 | 95_77_20210324165927 | 99.583% | 99.608% | 99.608% | 3 | 1 | 1
15 | 95_78_20210221140401 | 99.367% | 99.316% | 99.333% | 1 | 3 | 2

## Slide 57: Signal Intensity Extraction Techniques Comparison
Multiple data NP call results comparison (from finally 38 results)
  Grid1 intensity Intensity extracted from new developed process (Grid2)
  Grid1 intensity < Intensity extracted from new developed process (Grid2)
Reject
Reject

## Slide 58: Normal Gamma Background Correction & Data Preprocess
Jeff (CHI-HSUAN HO)

## Slide 59: Model Background and Introduction
For each single array:
: Enhance the biological validity of the results.
Model Assumption

## Slide 60: Methods and Materials
For each single array :
Models and Notations

## Slide 61: Methods and Materials
,
By the convolution formula,
Estimated Signal:
Thus, if is known is known.
No analytic expression Fast Fourier Transformation-based (fft) approximation.
Models and Notations

## Slide 62: Methods and Materials
If we know we know
MLE
Adapted RMA
Non-parametric estimation (NP)
Bayesian estimation
The normexp Model
The Parameter Estimation of normexp Model

## Slide 63: Methods and Materials
If we know we know
MLE with classical minimization algorithms (L-BFGS-B)
The normal-gamma Model
The Parameter Estimation of normal-gamma Model

## Slide 64: Performance on the Real Data
Normal-gamma BgC.
e.g. log(log(Chip 121))
For each single probe in each cluster (channel):
Correction: . Enhance the biological validity of the results.
repre sents the noise. Assumption: Normal distribution.
Remove and u se Gamma distribution to estimate .
Normal-gamma distribution.

## Slide 65: Performance on the Real Data
GMM-EM + Normal-gamma BgC.
  Set the related environment in R. (Data Preprocess, NP Probes, QN & log, QDA)
  Set the corresponding evaluation tools in R. (NP call rate, No call rate)
  Run the GMM-EM in R. (10 times => max NP call.)
  Run the normal-gamma correction (all together) before running QDA.
  Debug for the no call rate in the NP call analyzer.
  An example: NP call Analyzer: NP call: 94.4%, call: 66.9%
NP call (log(log(·))) | 
GMM + EM | 94.2308%
QDA | 94.5863%
ALL_NG + QDA | 94.2774%
Call rate (log(log(·))) | 
GMM + EM | 66.8298%
QDA | 67.8205%
ALL_NG + QDA | 67.7681%

## Slide 66: Data Preprocess
Data Example
78.7
85.1
90.0
94.4
Wafer | Chips | Np call rate (%) (NP call Analyzer)
198-04 | 121 | 94.4
197-02 | 230 | 90.0
198-15 | 277 | 85.1
197-02 | 233 | 78.7

## Slide 67: Data Preprocess
Logarithm Effect

## Slide 68: Data Preprocess
Logarithm Effect

## Slide 69: Chip QC and NPcall Analyzer
Jeff (CHI-HSUAN HO)

## Slide 70: Summit.NPCallAnalyzer
  Chip No.54 Quality Control Chip NO.62 Quality Control

## Slide 71: Summit.NPCallAnalyzer
Snowy rate
A
C
B

## Slide 72: Summit.NPCallAnalyzer
GMM-EM Results (log(log))
NP call: 94.2308%
No Call Rate: 66.8298%
Misclassified data

## Slide 73: Banff chip QC – Violin Plot

## Slide 74: Banff chip QC – Heatmap

## Slide 75: Banff chip QC – Marker Raw Data

## Slide 76
Correlation and Regression analysis (MCE vs. NP call)
Training data: 80% data
Model:
: 99.96%
Testing data: 20% data
MSE: 5.999574703240224e-06
It still need NP data to calculate the MCE.